## Objects
Object | Object ID | Subclass
Empty Run NOS | Emp | NA
Empty Run Cal | CalEmp | NA
Calibration Phantom | Calib | 0
| Calib | 1
| Calib | 2
| Calib | 3
| Calib | 4
Alignment (rod) phantom | Rod | NA
Water Phantom | Water
CTP404 Sensitometry Phantom | Sensitom
CTP528 High Resolution Line Pair Phantom | LinePair
CTP515 Low Contrast Module | LowCon
CTP554 Dose Phantom | Dose16 | cen
per
HN715 CIRS Pediatric Head Phantom, original | CIRSPHP0
HN715 CIRS Pediatric Head Phantom, modified | CIRSPHP1
LMU DECT Phantom | LMUDECT
CIRS Custom Edge Spread Function Phantom | CIRSEdge

## Runs
Date | 2019-02-13 |  |  | Comment | This is a CPC run with various pCT phantoms supporting Esther Baer's project
Energy | 200 MeV (unless mentioned otherwise) |  |  | 26.7 cm range in water at accelerator exit, 26.0 in water at nozzle exit
Spot Size | 65 mm (FWHM) |  |  | this spot size was created with tantalum foil of 0.3 mm physcal thickness
Object | Object ID | Subclass Info | # Projections | Object Folder Name | Run # | Subclass Tag | Continuous Scan Tag | Angle | Filenames (discrete scan) | Filenames (continuous scan) | Comment
Calibration | Calibw | NA | single | Calibration | 0012 | emp | NA | 000 | Calib_0012_emp_000.dat | NA | wobble (1.5 A, 3.3 A), calibration, ~30 M histories
Calibration | Calibw | NA | single | Calibration | 0013 | emp | NA | 000 | Calib_0013_emp_000.dat | NA | wobble (1.5 A, 3.3 A), calibration, ~30 M histories
Calibration | Calibw | NA | single | Calibration | 0014 | _0b | NA | 000 | Calibw_0014_0b_000.dat | NA | wobble (1.5 A, 3.3 A), calibration, ~30 M histories
Calibration | Calibw | NA | single | Calibration | 0015 | _1b | NA | 000 | Calibw_0015_1b_000.dat | NA | wobble (1.5 A, 3.3 A), calibration, ~30 M histories
Calibration | Calibw | NA | single | Calibration | 0016 | _2b | NA | 000 | Calibw_0016_2b_000.dat | NA | wobble (1.5 A, 3.3 A), calibration, ~30 M histories
Calibration | Calibw | NA | single | Calibration | 0017 | _3b | NA | 000 | Calibw_0017_3b_000.dat | NA | wobble (1.5 A, 3.3 A), calibration, ~30 M histories
Calibration | Calibw | NA | single | Calibration | 0018 | _4b | NA | 000 | Calibw_0018_4b_000.dat | NA | wobble (1.5 A, 3.3 A), calibration, ~30 M histories
CTP404 Sensitometry Phantom | Sensitom | NA | multiple | CTP404 Sensitometry Phantom | 0019 | NA | _Cont | 000 | NA | Sensitom_0019_Cont_000.dat | wobble (1 A, 2 A), continous rotation
CTP404 Sensitometry Phantom | Sensitom | NA | multiple | CTP404 Sensitometry Phantom | 0020 | NA | _Cont | 000 | NA | Sensitom_0020_Cont_000.dat | wobble (1 A, 2 A), continous rotation
CTP528 High Resolution Line Pair Phantom | LinePair | NA | multiple | CTP528_Linepair | 0021 | NA | _Cont | 000 | NA | Linepair_0021_Cont_000.dat | wobble (1 A, 2 A), continous rotation
CTP528 High Resolution Line Pair Phantom | LinePair | NA | multiple | CTP528_Linepair | 0022 | NA | _Cont | 000 | NA | Linepair_0022_Cont_000.dat | wobble (1 A, 2 A), continous rotation
George Phantom | Sensitom | NA | multiple | George Phantom | 0023 | 6min | _Cont | 000 | NA | George_0023_Cont_000.dat | wobble (1 A, 2 A), continous rotation
George Phantom | Sensitom | NA | multiple | George Phantom | 0024 | 3min | _Cont | 000 | NA | George_0024_Cont_000.dat | wobble (1 A, 2 A), continous rotation
George Phantom | Sensitom | NA | multiple | George Phantom | 0027 | 12min | _Cont | 000 | NA | George_0027_Cont_000.dat | wobble (1 A, 2 A), continous rotation